Town of Plattsburgh

##### Chuck Kostyk

Councilor

Barbara E. Hebert

Councilor

Thomas E. Wood Jr.

Councilor

Rickey Collins

Town Clerk

James J. Coffey

##### Town Attorney

### BUILDING AND GROUNDS

DEPARTMENT

151 BANKER ROAD

PLATTSBURGH, NEW YORK 12901-7307

(518) 562-6863

FAX# (5180 563-8136

Email:  rickr@townofplattsburgh.org

Michael S. Cashman

Supervisor

Meg LeFevre

##### Councilor/Deputy Supervisor

## TDD (800) 662-1220

## The Town is an equal opportunity provider and employer

Building and Grounds Monthly report for January 2020

- Jan.2nd

- Took tank and pump reads, recorded fuel reconciliations

- Toni cleaned Town complex then moved onto Park buildings

- Kerry checked fire extinguishers( Maintenance Dept. and front office complex)

- Don checked emergency exit lights replaced defective units

- Cleared undergrounds as they were received

- Repaired chain drive on Kubota

- Replaced defective outlet on pole barn for highway’s block heaters

- Assembled new chairs and delivered to Town Clerks office, removed old chairs.

- Stored  year end documents in proper files

- Jan 3rd.

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni cleaned Town complex then moved onto Park buildings

- Replaced burnt out light bulbs in passage way leading to highway dept., replaced burnt out bulbs in W.W.W copier room.

- Repaired power cord for Highway Mechanic, replaced female end connector

- Staff cleaned vehicles in prep for snow removal

- Don and Dick cleared undergrounds for N.Y.S.E.G. located Salmon River Rd., Good Speed Rd and Archie Bourdeau Rd. area’s.

- Staff met with Highway Superintendent, exchanged contact information, discussed time use management

- Jan.6th

- Toni cleaned Town complex then moved onto Park buildings

- Cleared undergrounds as they were received

- Kerry cleared walkways, also ice melted

- Dick and Don cleared snow from Town parking area’s

- Took tank and pump reads, recorded fuel reconciliations

- Brian started 9:00 A.M. to 5:30 P.M shift

- Dick and Don started trouble shooting furnaces (problem with the way the furnaces start and run).

- Kept clearing snow at the Town and ice melting walkways.

- Removed streetlight arm on corner of Dale Ave. to aid in removal of fallen tree’s

- Brian continued on snow removal throughout the day at Town complex location and Parks.

- Jan.7th

- Toni cleaned Town complex then moved onto Park buildings

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Staff performed snow removal at Town location then continued on with snow removal at Park locations also ice melted area’s pertaining to all locations

- Reset chain tensioner on Kubota tractor

- Continued trouble shooting furnaces.

- Repaired hose reel highway bay 4

- Kept checking and ice melting walkways at Town complex and Park area’s

- Cleared undergrounds received later in the day.

- Jan.8th.

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni cleaned Town complex then moved onto Park buildings

- Checked walkways for ice buildup, ice melted where needed.

- Kerry did Park run to check snow drifting and walkways, ice melted where needed.

- Dick and Don hung pictures and deer head in Town Clerks office as per Town Clerk Kevin Patnode’s request

- Installed protective weather cover on G.F.I. outlet located in W.W.W wash area as per Highway Superintendent Tim Dubrey request.

- Dick repaired cabinet door damage from rental( replaced center panel, re-stained door)

- Furnaces in back bay of highway currently running fine after service.

- Brian continued on snow removal and slushing parking lot around town.

- Jan. 9th

- Toni cleaned Town complex then moved onto Park buildings

- Took tank and pump reads, recorded fuel reconciliations.

- Cleared undergrounds as they were received

- Dick installed repaired cabinet door at May Currier building

- Don shoveled and ice melted walkways at Town complex

- Kerry plowed, shoveled and ice melted Park area’s where needed.

- Received complaint about traffic devices located on Smithfield Blvd and Pyramid Dr. arrived at location took Town vehicle through designated traffic lanes, all traffic control devices are working properly made video of traffic devices. Any issues with traffic, most likely driver error.

- Started servicing furnaces in middle bay.

- Brian began soft start on East Morrisonville remodel project.

- Cleared undergrounds received later in the day.

- Jan.10th.

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received.

- Kerry changed out dog feces container at East Morrisonville Dog Park.

- Toni cleaned Town complex then moved onto Park buildings.

- Dick and Don removed recyclables from Town offices, placed in proper disposal containers.

- Received call from Mel asking to remove fire pit from Cadyville Park event was canceled due to possible ice storm

- Removed dead deer from Cadyville disc golf course as per Highway Superintendent Tim Dubrey request.

- All streetlights were out on Ampersand Dr., streetlight staff trouble shot main connection, another municipality apparently worked on Town service lines to streetlights, must have made bad connection, located underground utility box changed supply lines to another power source, all streetlights in location are back in service.

- Jan.13.th

- Dick took sick day

- Toni cleaned Town complex then moved onto Park buildings.

- Set main meeting room up for E.A.S class.

- Kerry ice melted walkways around Town complex

- Staff attended Drug & Alcohol training presented by Bonnie Black E.A.S.

- Kerry and Don scraped and ice melted walkways again around Town complex.

- Was instructed to attend supervisory training put on by E.A.S.

- Solicited bids for flooring pertaining to East Morrisonville Park Building.

- Took tank and pump reads, recorded fuel reconciliations.

- Brian cleaned restroom in shop area.

- Jan.14th

- Took tank and pump reads, recorded fuel reconciliations

- Toni cleaned Town complex then moved onto Park buildings

- Kerry cleaned and ice melted walkways at Town complex

- Staff began slushing Parking area around Town complex

- Don and Kerry plowed parking area and removed snow from walkway located at May Currier, also ice melted, entered building set tables and chairs for seniors.

- Dick and Don continued on with furnace maintenance

- Don repaired outlet in W.W.W. dept. outlet was, GFI outlet was replaced

- Kerry continued on with slushing Parks and checking walkways throughout Park area’s

- Brian and Kerry continued on with soft start at East Morrisonville Park building.

- Dick picked up flooring samples for East Morrisonville Park building project

- Dick and Don repaired streetlight located at 3 Plattsburgh Dr. in Cliff Haven replaced photocell eye.

- Put together quotes for Tim so P.O. can be cut for purchasing of flooring for East Morrisonville Park building

- Jan.15th.

- Toni cleaned Town complex then moved onto Park buildings

- Kerry checked walkways around Town complex

- Cleared undergrounds as they were called in.

- Took tank and pump reads, recorded fuel reconciliations

- Staff cleaned plow trucks in prep for snow removal.

- Dick and Don continued on trouble shooting furnaces in Highway bay 1 and bay 2, recommend changing out pressure switches and high limit switch between the heat exchangers also through cleaning of system.

- Measured windows in East Morrisonville building, picked up windows for replacement at Lowes.

- Walls and doors were sealed at East Morrisonville building.

- Jan.16th

- Dick took vacation day

- Toni cleaned Town complex then moved onto Park buildings

- Staff started snow removal at Town complex also ice melted walkways.

- Cleared undergrounds as they were received

- Took tank and pump reads, recorded fuel reconciliations.

- Staff moved onto clearing snow throughout the Park area’s also ice melted walkways

- Cleared emergency undergrounds for Morrisonville construction

- Brian snow plowed Town complex and monitored sidewalks (shoveled and ice melted throughout his shift)

- Picked up trash from Parks emptied at Town location

- Jan.17th

- Toni took personal day

- Staff cleaned Town complex

- Cleared undergrounds as they were received

- Staff performed snow removal at Town complex then ice melted walkways

- Took tank and pump reads, recorded fuel reconciliations

- Notified Tim about location of CAT6 and outlet in court room to assist I.T. individual

- Received notification from Bob Munson North Bowl Lanes owner concerning streetlight’s on Cumberland Head

- Ripped down plywood for shelving

- Continued on soft start of East Morrisonville Park building

- Cleaned departmental vehicles ( washed salt and sand off )

- Jan 20th HOLIDAY ( MARTIN LUTHER KING, RJ )

- Received call in from security company- alarm set off in accounting office.

- Jan.21st

- Staff cleaned office complex

- Cleared undergrounds as they were received

- Rick and Dick cleaned May Currier walkway also set tables and chairs for senior program

- Took tank and pump reads. Recorded fuel reconciliations

- Staff performed the rest of snow removal from Town complex also ice melted walkways

- Checked and cleaned Park buildings, ice melted walkways at all Parks

- Repaired file cabinet locks in accounting office as per Karen Pepper’s request.

- Ordered more ice melt, result of daily snow- constant snow removal.

- Jan.22nd

- Staff cleaned Town complex then moved onto Park building’s

- Cleared underground’s as they were received

- Dick replaced defective ceiling light in women’s restroom

- Don and Kerry removed recyclables, placed in proper containers for pickup.

- Took tank and pump reads, recorded fuel reconciliations

- Installed Kevin Patnode’s name tag near Town Clerk’s office

- Received P.O. from Tim Dubrey to purchase flooring from Lee Appliance for East Morrisonville building remodel, staff picked up flooring delivered to East Morrisonville building so as to acclimate to building.

- Picked up pickling stain for wainscoting for East Morrisonville project.

- Dick and Kerry cleared undergrounds located on Salmon River Rd.

- Brian repaired broken table returned to May Currier

- Brian cleaned restrooms in office complex, also cleaned employee restroom in shop.

- Ripped down sheet goods for cabinet’s to be installed at Town complex.

- Jan 23rd

- Staff cleaned Town complex then moved onto Park buildings

- Cleared undergrounds as they were received

- Took tank and pump reads, recorded fuel reconciliations

- Checked streetlights located on Rte.9 north, dispatched Dick and Don to perform repairs.

- Kerry and Brian continued on with removal of baseboard at East Morrisonville Park building.

- Received notice of streetlight outage located on Vista Dr. contacted lighting staff in the field made arrangements for repairs.

- Received call from Wood Cliff resident concerning streetlight outage pole# 1606, relayed message to streetlight staff to make repair.

- Don and Dick performed streetlight repairs located on Rte. 9 North T#0684 replaced disconnect as well as 10 amp fuse, Rte.9 North T# 0688 replaced disconnect, photo control eye and 10 amp fuse, Rte.9 North T#0701 replaced crimp and 10 amp fuse, Rte.9 North replaced 250 watt H.P.S. light head with L.E.D. equivalent, Rte.9 North T# 0704 replaced disconnect and 10 amp fuse, 18 Vista Dr. T# 0213 replaced 100 watt H.P.S. bulb and Wood Cliff Dr. T# 1606 replaced 100 watt H.P.S. bulb and photo control eye .

- Started fabricating shelves for Town office complex..

- Cleared undergrounds received later in the day.

- Brian checked and cleaned restrooms at Town complex.

- Jan. 24th

- Staff cleaned Town complex then moved onto Park buildings

- Kerry performed trash run throughout the parks

- Continued on fabricating cabinets for Town complex

- Dick and Don continued on L.E.D. replacements

- Lighting project on Tom Miller Rd. was completed

- Streetlight repairs were performed located on the Bell Rd. replaced photocell eye, also repaired streetlight located in Vintage Estates

- Kerry cleaned shop.

- Assigned vouchers to proper line items for weekly billing returned vouchers for signature to Highway Superintendent Tim Dubrey.

- Jan 27th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni cleaned Town complex , then moved onto Park buildings

- Staff put plows back on trucks began snow removal at Town complex.

- Continued on with work on office project.

- Brian and Kerry removed snow from Parks , cleaned sidewalks and ice melted

- Streetlight repairs were performed at intersection of Smokey Ridge and Wallace Hill T# 0562 replaced 150 watt H.P.S. bulb, at intersection of Ridgeway and Wallace hill Rd. T# 0538 replaced 10 amp fuse, 4 Twin Circle, replaced 10 amp fuse also intersection of 	Rte.374 and Rte. 22 streetlights are out, diagnosed problem, secondary line was burnt through reconnected overhead powerline secured connection resupplied power to lights, all working properly.

- Brian continue soft start on East Morrisonville project

- Cleared undergrounds received later in the day

- Brian returned to Town complex locked up, cleaned restrooms throughout the building.

- Jan.28th

- Toni cleaned Town complex then moved onto Park buildings

- Took tank and pump reads, recorded fuel reconciliations

- Started remodel of East Morrisonville building, replaced old windows, installed new windows continued touching up walls.

- Continued working on cabinets for office complex

- Cleared undergrounds as they were received.

- Jan.29th

- Took tank and fuel reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Continued on with remodeled of East Morrisonville building , padded out windows and sheet rocked,  performed prep on walls and prime coated again

- Toni cleaned Town complex then moved onto Park buildings

- Kerry checked sidewalks for ice buildup

- Brian repaired and replaced toilet seats at Treadwells Location

- Brian skimmed out walls at East Morrisonville project.

- Continued on office cabinet

- Cleared undergrounds received later in the day.

- Jan.30th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni cleaned Town complex then moved onto Park buildings

- Kerry checked walkways for ice

- Don and Dick removed recyclables from Town complex, placed in proper containers for pickup

- Crew loaded up materials for East Morrisonville Project, Dick started to install new trim , Don and Kerry started install of wainscoting

- Continued on fabrication of cabinet for Town office

- Brian scrubbed public restrooms on first floor

- Brian caulked trim at East Morrisonville Park building

- Jan. 31st

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni cleaned Town complex then moved onto Park buildings

- Kerry fueled up vehicles also cleaned shop area

- Dispatched Don and Dick to perform streetlight repairs, South Plattsburgh, West Plattsburgh and Treadwells area’s

- All streetlights in question were repaired, streetlight on RandHill Rd was replaced with L.E.D.

- Departmental vehicles were cleaned and detailed as per Highway Superintendent Tim Dubrey’s request

- Completed construction on one of two cabinets for office complex