Town of PlattsburgH

##### Meg Bobbins

Councilor

Barbara E. Hebert

Councilor

Thomas E. Wood Jr.

Councilor

##### Kathryn Kalluche

Town Clerk

James J. Coffey

##### Town Attorney

### BUILDING AND GROUNDS

DEPARTMENT

151 BANKER ROAD

PLATTSBURGH, NEW YORK 12901-7307

(518) 562-6863

FAX# (5180 563-8136

Email:  rickr@townofplattsburgh.org

Michael S. Cashman

Supervisor

##### Chuck Kostyk

##### Councilor/Deputy Supervisor

## TDD (800) 662-1220

## The Town is an equal opportunity provider and employer

Building and Grounds Monthly report for October 2021

Oct.4th

- Rick on vacation 8/4 thru 8/8

- Took tank and pump reads

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Brian performed trash run throughout the Parks

- Dick performed chair and table count throughout the Park buildings as per Mel’s request

- Kerry swept court ramp area

- Kerry mowed and trimmed West Plattsburgh and East Morrisonville Parks

- Toni continued on with cleaning and disinfecting of Park buildings and all exterior restrooms

Oct.5th

- Took tank and pump reads

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office area

- Kerry swept court ramp area

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Kerry finished trimming and mowing East Morrisonville and continued on with Cliff Haven Park

- Cleared undergrounds as they were received

- Mowed and trimmed Town signs

- Fixed heaters at May Currier building as per Mel’s request

- Replaced batteries in paper towel dispenser at May Currier

Oct.6th

- Took tank and pump reads

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Brian swept court ramp area

- Kerry mowed and trimmed Wallace Hill and Guy Cedar Parks

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Removed A/C/ unit from May Currier

- Performed streetlight repair located on Wallace Hill

Oct.7th

- Took tank and pump reads,

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning and disinfecting of Park buildings and all exterior restrooms

- Kerry swept court ramp area

- Kerry continued on with mowing an trimming May Currier and Cadyville beach area

- Brian mowed and cleaned Town Mausoleum

- Dick and Brian mowed and trimmed back Lapierre Lane Park

Oct.8th

- Took tank and pump reads

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s area

- Brian swept court ramp area

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Took receivership of corn hole boards Mel ordered, loaded up materials and installed at Tread Wells Park location as per Mel’s work order

- Kerry mowed Town complex

- Performed trash run throughout the Parks

Oct.11th   HOLIDAY

Oct.12th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning Park buildings and all exterior restrooms

- Brian and Kerry performed trash run throughout Parks and disc golf course

- Dick hung picture in front main hallway

- Brian and Kerry cleaned Town Mausoleum

- Dick and Steve added ball valve to 2 inch hose bib for pressure blow off to assist Highway dept. with detaching of fire hose, used for cleaning equipment

Oct.13th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning and disinfecting of Park buildings

- Steve and Dick cleaned area behind pole barn to assist in removal and reinstallation of polymer roofing panels, staff was able to install two panels, put in work order for W.W.W. to remove refuse away from pole barn area to access close proximity to allow room for bucket truck

- Kerry and Brian mowed and trimmed East Morrisonville Park and Dog Park

Oct.14th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected Town offices and Court Clerk’s office

- Kerry swept Court ramp area

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Dick called in sick

- Brian and Kerry started removing soccer nets as per Mel’s work order

- Met with Town Clerk to discuss destruction of vault record’s

- Steve and Rick repaired street lights called in, 11 Hendrix Rd. T# 0114 replaced defective mercury vapor with 100 watt L.E.D. equivalent fixture, Davies Lane T# 0793 replaced 100 watt H.P.S. and 1 Brooke View Dr. replaced mercury vapor light head.

Oct.15th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Kerry performed trash run throughout the Parks

- Swept Court ramp area

- Kerry and Brian mowed and trimmed East Morrisonville Park and Dog Park

- Steve and Dick prepped materials for new basketball court being installed at Tread Wells Park

- Received phone call pertaining to problematic streetlight located on RTE 3 Rick and Steve trouble shot light, replaced 100 watt H.P.S fixture with L.E.D. equivalent

- Steve replaced ceiling lights in main hallway outside of vestibule area

Oct.18th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Kerry performed trash run throughout the Parks

- Dick and Brian continued on fabricating brackets for new basketball post as per instructions

- Marked out and called in underground located on Wild Flower Dr.

- Steve and Rick performed street light repair located at 10 Honey Dr. N.Y.S.E.G. replaced light pole, light arm and streetlight head were reinstalled and streetlight was reenergized.

- Picked up supplies to start street light project located on Wild Flower Dr.

- Kerry and Brian removed old fencing and post’s from Tread Wells Park field and filled in holes

Oct.19th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Kerry swept ramp area

- Toni continued on with cleaning and disinfecting of Park buildings and all exterior restrooms.

- Brian and Kerry removed soccer goals from Cumberland Head soccer field returned to storage in pole barn

- Dick met with Mel to get location of basketball backstop post. Continued fabricating mount for post

- Staff disassembled lighting fixtures in North entrance to fabricate green lens in Honor of Veterans as per Town Supervisor request

- Steve and Dick performed street light repair located at RTE.3 and 22B intersection

- Returned soccer nets from Cadyville Park and stored nets in pole barn

- Picked up door to be installed later in accounting office as per safety committee work order

- Met with Adams Glass took measurement of exterior window located in Trevor Cole’s office to facilitate replacement for egress window as per safety committee request.

Oct 20th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds received in the A.M.

- Dick and Steve marked out undergrounds located on RTE.3 , Cumberland Head area’s

- Swept court ramp area

- Toni, Brian and Kerry cleaned and disinfected office complex

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Gathered team together started install of basketball post’s and back boards at Tread Wells location

- Kerry and Brian swept court ramp area

Oct 21st.

- Rick took sick day

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Took tank and pump reads

- Cleared undergrounds as they were received

- Brian and Kerry reinstalled signage that was vandalized at Lapierre Lane site

- Dick gathered team and installed one of the backboards at Tread Wells new basketball court, waiting on rest of fasteners to install second backboard ( hardware was not complete when shipped from factory)

- Staff gathered to assist in record destruction for Town Clerk.

Oct 22nd

- Kerry took vacation day

- Toni and Brian cleaned and disinfected office complex and Court Clerk’s office

- Cleared undergrounds as they were received

- Took pump and tank reads, performed fuel reconciliations for the 21st and the 22nd

- Dick and Brian performed trash run throughout the Parks

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Rick and Steve performed streetlight repairs 14 Salmon River Rd. T# 1027 replaced 150 watt H.P.S. bulb,  T# 1026 replaced photo control eye, T# 0553 replaced 100 watt H.P.S. bulb and photo control eye, 102 Wallace Hill Rd. 0554 replaced 100 watt H.P.S. bulb and photo control eye, 22 Vintage Estates T# 0632 replaced photo control eye, Homestead Dr. T# 0641 replaced photo control eye, intersection of Joshua and Superior Dr. replaced disconnect , photo control eye and 100 watt H.P.S. bulb, 6 Davies Lane replaced 100 watt H.P.S. and photo control eye, 7 Siwanoy Way, T # 0755 replaced 100 watt H.P.S. bulb and L# 1439 Sharron Ave. replaced disconnect and 100 watt H.P.S. bulb.

Oct.25th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Received E-mail via Town Supervisor Michael Cashman concerning damaged signage located at Lapierre Lane area, dispatched Kerry and Brian, discovered 4 signs had been vandalized staff retrieved damaged signs, that where beyond repair, Brian reached out to Erin notified her of damage awaiting further instructions from Mel as to what course to take.

- Kerry swept court ramp area

- Toni moved onto cleaning and disinfecting Park buildings and all exterior restrooms

- Dick and Steve picked up material to start street light project located on Wild Flower Lane, crew started to fabricate sauna tubes and chases for line service,

- Staff performed trash run throughout the Parks

- Picked up and ordered more cleaning supplies as per Toni’s request

- Steve and Dick picked up supplies pertaining to upcoming projects at Town Hall, to be worked on when time allows.

Oct.26th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Kerry and Brian started removing swings and bleachers throughout the Parks as per Mel’s work request

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Dick took ½ day vacation

- Steve and Rick worked on removing damaged streetlight from accident scene at intersection of Rte.3 and on ramp to 87 North near Five Guy’s

Oct. 27th

- Took tank and pump reads, recorded fuel reconciliations as per D.E.C. requirements

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning and disinfecting of Park buildings

- After contacting N.Y.S.D.O.T. about closing down intersection of Upper Cornelia St. and on ramp to Rte. 87 gathered team together to reinstall streetlight and pole that was damaged in accident. Installed base, pole and light head, reenergized pole up and running

- Ordered material from Lowes for countertop to be installed for new accounting office desk

- Received notice of street light outage located at 50 Kensington Dr. Steve and Dick responded replaced 70 watt H.P.S. and photo control eye

- Received phone call concerning street light located on RTE 3 T# 0624 Steve replaced photo control eye

Oct.28th

- Cleared undergrounds as they were received

- Took tank and pump reads, recorded fuel reconciliations as per D.E.C. regulations.

- Brian took vacation day

- Toni and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning and disinfecting of Park buildings and all exterior restrooms

- Dick and Steve gathered materials to winterize Park buildings as per Mel’s work order

- Received work order from Mel regarding install of fencing at Tread Wells location near basketball perimeter, will install after basketball post is complete

- Steve and Dick marked out underground called in by Highway Dept. on Plaza Dr.

- Kerry cleaned shop area and tool rooms

- Steve and Dick winterized designated Park buildings met with W.W.W. Josh Squire’s to shut water meters off and blow down lines

- Kerry picked road patch to be installed at base of  basketball post located at Tread Wells Park

- Completed basketball post and back boards install will wait to install fencing after Halloween.

Oct.29th

- Took tank and pump reads, recorded fuel reconciliations

- Cleared undergrounds as they were received

- Toni, Brian and Kerry cleaned and disinfected office complex and Court Clerk’s office

- Toni continued on with cleaning and disinfecting Park buildings and all exterior restrooms

- Kerry and Brian performed trash run throughout the Parks.

- Steve changed burnt out light bulbs in entry hallway

- Received e-mail pertaining to street light outage located in Cliff Haven area dispatched Dick and Steve to trouble shoot light

- Installed new arm, light head and service at Cliff Haven, energized light head, street light up and running properly

- Coal patched base of basketball posts