## Sheet1
Report on Test and Maintenance
Bureau of Public Water Supply Protection | [9 empty] | of Backflow Prevention Devices
For the year ______
Part A | [7 empty] | Initial test- Complete entire form
| Please use a separate form for each device | [5 empty] | X | Annual test- Complete Part A only
Public Water Supply |  |  |  | Account No. |  | County |  | Block |  | Lot
Clinton
Facility Name |  |  |  |  | Location of Device
Address
Street
City Plattsburgh |  | State | NY Zip | 12901
Device | Manufacturer |  | Type | RPZ | Model |  | Size (in inches) |  | Serial Number
Information |  |  |  | DCV
| Check Valve No. 1 |  | Check Valve No. 2 |  | Differential Pressure Relief Valve |  |  | Line Pressure ____ psi
Test | Leaked |  | Leaked
before | Closed Tight |  | Closed Tight |  | Opened at _____ psid |  |  |  | Date
repair | Pressure drop across first
check valve ______ psid
Describe | [7 empty] | Repaired By
repairs and | [7 empty] | Name | _________________
materials
used | [7 empty] | Lic. # | _________________
Date Repaired _________
Final test | Closed Tight |  | Closed Tight |  | Opened at ____ psid |  |  |  | Date
Pressure drop across first
check valve ______ psid
Water Meter Number |  |  | Meter Reading |  | Type of Service: (check one)
[5 empty] | Domestic | Fire | Other | ___________________________
Remarks | (Describe deficiencies: bypasses, outlets before the device, connections between the device and point of entry, missing or inadequate airgap, etc.)
Certification: This device meets, does NOT meet, the requirements of an approved containment device at the time of testing.
I hereby certify the foregoing data to be correct.
____________________ |  |  | __________ |  | _________________________ |  |  |  | __________
Print Name |  |  | Certified Tester No. |  | Signature |  |  |  | Expiration Date
Property owner's (or owner's agent) certification that test was performed:
____________________ |  |  | _____________ |  | _________________________ |  |  |  | _______________
Print Name |  |  | Title |  | Signature |  |  |  | Telephone No.
Part B | Certification that installation is in accordance with approved plans. (To be completed by the design engineer or architect
or water supplier)
I hereby certify that this installation has been made in accordance with the approved plans.
Name |  |  |  | Title |  |  | Date |  | NYS DOH Log #
License Number |  |  |  | Phone ( )
Representing | [5 empty] | Describe minor installation changes:
Street
City |  |  | State | Zip
Signature _________________________________________________________
NOTE: Send one copy to the designated health department representative and one copy to the water supplier within 30 days of the testing of the device
DOH- 1013 (9/91) Notify owner and supplier immediately if device fails test and repairs cannot immediately be made.